## Slide 1: MAX32664 Application Programming

## Slide 2
Using MAX32630 to flash the .msbl application file
Adding code to your host to flash the .msbl application file

## Slide 3: Using MAX32630 to flash the .msbl application file
MAX32664GWEB/MAXREFDES101:
  Download the latest firmware, application code and PC GUI from the Maxim website:
  https://www.maximintegrated.com/en/design/reference-design-center/system-board/6779.html/tb_tab2
  Follow all the instructions in the MAXREFDES101# User Guide to flash the .bin, .msbl and install the PC GUI.
  https://pdfserv.maximintegrated.com/en/an/an6780-maxrefdes101-user-guide.pdf
MAX32664GWEA/MAXREFDES220:
  Download the latest firmware, application code and GUI from the Maxim website:
  https://www.maximintegrated.com/en/design/reference-design-center/system-board/6657.html/tb_tab2
  Follow all the instructions in the “MAXREFDES220_Installation_Quick_Start_Guide.pdf” that is included in the above download to flash the .bin and .msbl application file.

## Slide 4: Adding code to your host to flash the .msbl application file
Download the MAX32664 User Guide from the Maxim website:
  https://pdfserv.maximintegrated.com/en/an/user-guide-6806-max32664.pdf
  The user guide provides an Annotated I2C trace for flashing the .msbl application per the protocol defined in the table named MAX32664 I2C Message Protocol Definitions.